ARMORLOC® CELLULAR CONCRETE BLOCK

HAND PLACE SPECIFICATION FOR EROSION CONTROL

PART 1:
GENERAL


A.
Scope of Work
The contractor shall furnish all labor, materials, equipment, and incidentals required and perform all operations in connection with the installation of cellular concrete erosion control blocks in accordance with the lines, grades, design and dimensions shown on the Contract Drawings and as specified herein.



B.
Submittal
The Contractor shall submit to the Engineer all manufacturers’ hydraulic testing and calculations in support of the proposed cellular concrete block system and geotextile.  

The Contractor shall furnish the manufacturer's certificates of compliance for cellular concrete blocks/mats. The Contractor shall also furnish the manufacturer's specifications, literature and any recommendations, if applicable, that are specifically related to the project.  

Alternative materials may be considered.  Such materials must be pre-approved in writing by the Engineer prior to bid date.  Alternative material packages must be submitted to the Engineer a minimum of fifteen (15) days prior to bid date.  Submittal packages must include, as a minimum, the following:

A list of 5 comparable projects, in terms of size and applications, in the United States, where the results of the specific alternate revetment system use can be verified after a minimum of one (1) year of service life.

PART 2:
PRODUCT

A. General  

All interlocking precast concrete blocks are substantially H-
shaped, having a flat bottom and, in its middle, two vertical openings of 
rectangular cross section and shall be manufactured as individual units which shall be packaged in a manner suitable for transportation to the jobsite.  The blocks shall be shaped in such a way that each block keys into four (4) adjacent blocks.  Further, the blocks are capable of being connected at the jobsite so that each individual unit is physically interlocked with six (6) surrounding blocks to resist lateral movement and uplift.  The gross area of each individual block in direct contact with the protected subgrade shall be no less than one square foot.


The Contractor shall place the interlocking blocks to the lines and grades shown on the Contract Drawings.


B.
Cellular Concrete Blocks

1.
Scope

1.1
This specification covers erosion control interlocking blocks used in revetments for soil stabilization.


Note 1 - Concrete units covered by this specification are made from 
lightweight or normal weight aggregates, or both.

Note 2 - The values stated in U.S. customary units are to be regarded as 
the standard.


2.
Materials
            
2.1
Cementitious Materials - Materials shall conform to the following applicable ASTM specifications:

2.1.1
Portland Cements - Specification C 150, for Portland Cement.

2.1.2
Blended Cements - Specification C 595, for Blended Hydraulic Cements.

2.1.3
Hydrated Lime Types - Specification C 207, for Hydrated Lime Types.

2.1.4
Pozzolans - Specification C 618, for Fly Ash and Raw or Calcined Natural Pozzolans for use in Portland Cement Concrete.

            
2.2
Aggregates shall conform to the following ASTM specifications, except that grading requirements shall not necessarily apply:

2.2.1 Normal Weight - Specification C 33, for Concrete Aggregates.

3. Casting

3.1
The concrete units shall be produced by a dry cast method.  The dry cast units obtain strength in a shorter duration as well as an increase in the durability and overall quality of product.
4. Physical Requirements

           
4.1
At the time of delivery to the work site, the units shall conform to the physical requirements prescribed in Table 1 below.

	TABLE 1.  ARMORLOC® PHYSICAL REQUIREMENTS

	Compressive Strength

Net Area

Min. psi (MPa)
	Water Absorption

Max., lb/ft3
(Kg/m3)

	Avg. of

3 units
	Individual

Unit
	Avg. of

3 units
	Individual Unit

	4,000    (27.6)


	3,500    (24.1)
	9.1     (160)
	11.7    (192)




4.2
Units will be sampled and tested in accordance with ASTM D 6684-04, Standard Specification for Materials and Manufacture of Articulating Concrete Block (ACB) Revetment Systems.  


4.3
Units shall be sampled and tested in accordance with ASTM D 6684-04, Standard Specification for Materials and Manufacture of Articulating Concrete Block (ACB) Revetment Systems.  


5.
Visual Inspection

5.1
All units shall be sound and free of defects that would interfere with either the proper placement of the unit or impair the performance of the system.  Surface cracks incidental to the usual methods of manufacture, or surface chipping resulting from customary methods of handling in shipment and delivery, shall not be deemed grounds for rejection.


5.2
Cracks exceeding 0.25 inches (.635 cm) in width and/or 1.0 inch (2.54 cm) in depth shall be deemed grounds for rejection.


5.3
Chipping resulting in a weight loss exceeding 10% of the average weight of a concrete unit shall be deemed grounds for rejection.



5.4
Blocks rejected prior to delivery from the point of manufacture shall be replaced at the manufacturer's expense.  Blocks rejected at the job site shall be repaired with structural grout or replaced at the expense of the contractor.

6.
Sampling and Testing

6.1
The purchaser or their authorized representative shall be accorded proper access to facilities to inspect and sample the units at the place of manufacture from lots ready for delivery.


6.2
Field installation procedures shall comply with the procedures utilized during the hydraulic testing procedures of the recommended system. All system restraints and ancillary components (such as synthetic drainage mediums) shall be employed as they were during testing.  For example, if the hydraulic testing installations utilize a drainage layer then the field installation must utilize a drainage layer; an installation without the drainage layer would not be permitted.  



6.3
The theoretical force-balance equation used for performance extrapolation tends for conservative performance values of thicker concrete units based on actual hydraulic testing of thinner units.  When establishing performance values of thinner units based on actual hydraulic testing of thicker units, there is a tendency to overestimate the hydraulic performance values of the thinner units.  Therefore, all performance extrapolation must be based on actual hydraulic testing of a thinner unit then relating the values to the thicker units in the same “family” of blocks. 

6.4 Additional testing, other than that provided by the manufacturer, shall be borne by the purchaser.


7.
Manufacturer



Cellular concrete blocks shall be ARMORLOC® as manufactured, sold and distributed 

by:



CONTECH Construction Products Inc.
Phone: (513) 645-7241


9025 Centre Point Dr. Suite 400

Fax:     (513) 645-9000


West Chester, OH 45069

C.
Filter Fabric
The geotextile filter shall meet the minimum physical requirements listed in Table No. 2 of these Specifications. Consultation with the manufacturer is recommended.  

The geotextile must be permitted to function properly by allowing relief of hydrostatic pressure; therefore concrete shall not be allowed to clog the filter fabric.



The geotextile fiber shall consist of a long-chain synthetic polymer composed of at least 85 percent by weight of propylene, ethylene, ester, or amide, and shall contain stabilizers and/or inhibitors added to the base plastic, if necessary, to make the filaments resistant to deterioration due to ultraviolet and heat exposure.  The edges of the geotextiles shall be finished to prevent the outer fiber from pulling away from the geotextiles.



The Contractor shall furnish the Engineer, in duplicate, manufacturer's certified test results showing actual test values obtained when the physical properties are tested for compliance with the specifications.



During all periods of shipment and storage, the filter fabric shall be protected from direct sunlight, ultraviolet rays and temperatures greater than 140 degrees Fahrenheit.  To the extent possible, the fabric shall be maintained wrapped in its protective covering.  The geotextile shall not be exposed to sunlight, ultraviolet rays until the installation process begins.

                                 TABLE 2.  PHYSICAL REQUIREMENTS

	Physical Property
	Test Procedure
	Minimum Value

	Grab Tensile Strength

(Unaged Geotextile)
	ASTM D4632
	200 Lbs.

(in any principal direction)

	Breaking Elongation

(Unaged Geotextile)
	ASTM D4632
	50% max.

(in any principal direction)

	Burst Strength
	ASTM D3786
	400 psi

	Puncture Strength
	ASTM D4833
	115 lbs.

	A.O.S., U.S. Std. Sieve
	ASTM D4751
	see Design Manual

	% Open Area
	CWO-22125-86
	see Design Manual

	Permittivity
	ASTM D4491
	See Design Manual


Final acceptance of the filtration geotextile by the Engineer shall be dependent upon the geotextile performance when tested in accordance with ASTM D5101, Standard Test Method for Measuring the Soil-Geotextile System Clogging by the Gradient Ratio test or the Hydraulic Conductivity Ratio test.  Soil characteristics such as grain size analysis, and plasticity shall be determined for every 200,000 square feet of geotextile installed, or for each source of borrow material used during construction.  Significant differences in soil characteristics shall require further performance testing by either the Gradient Ratio or the Hydraulic Conductivity Ratio tests at the discretion of the Engineer.  The locations for which the material to be tested is extracted shall be approved by the Engineer.  The Contractor shall provide the site-specific soil and modified proctor curves for the site-soil, at his own expense, to the manufacturer.  The manufacturer shall be responsible for the performance of the test by a certified independent laboratory experienced in performing such test.  The test shall be performed under the actual field soil conditions or as otherwise required by the Engineer.



At the time of installation, the filter fabric shall be rejected if it has been removed from its protective cover for over 72 hours or has defects, tears, punctures, flow deterioration, or damage incurred during manufacture, transportation or storage.  With the acceptance of the Engineer, placing a filter fabric patch over the damaged area prior to placing the mats shall repair a torn or punctured section of fabric.  The patch shall be large enough to overlap a minimum of three (3) feet in all directions.


In the event pre-assembled panels of fabric are required, the panels of filter fabric shall be sewn together at the manufacturer or another approved location.

PART 3:
FOUNDATION PREPARATION, GEOTEXTILE AND PLACEMENT

 
A.
Foundation Preparation
General.  Areas on which filter fabric and cellular concrete blocks are to be placed shall be constructed to the lines and grades shown on the Contract Drawings and to the tolerances specified in the Contract Documents, and approved by the Engineer.

Grading.  The slope shall be graded to a smooth plane surface to ensure that intimate contact is achieved between the slope face and the geotextile (filter fabric), and between the geotextile and the entire bottom surface of the cellular concrete blocks.  All slope deformities, roots, grade stakes, and stones which project normal to the local slope face must be re-graded or removed.  No holes, "pockmarks", slope board teeth marks, footprints, or other voids greater than 1.0 inch in depth normal to the local slope face shall be permitted.  No grooves or depressions greater than 0.5 inches in depth normal to the local slope face with a dimension exceeding 1.0 foot in any direction shall be permitted.  Where such areas are evident, they shall be brought to grade by placing compacted homogeneous material.  The slope and slope face shall be uniformly compacted, and the depth of layers, homogeneity of soil, and amount of compaction shall be as required by the Engineer.



Excavation and preparation for anchor trenches, flanking trenches, and toe trenches or aprons shall be done in accordance to the lines, grades and dimensions shown in the Contract Drawings.  The anchor trench hinge-point at the top of the slope shall be uniformly graded so that no dips or bumps greater than 0.5 inches over or under the local grade occur.  The width of the anchor trench hinge-point shall also be graded uniformly to assure intimate contact between all cellular concrete blocks and the underlying grade at the hinge-point.

Inspection.  Immediately prior to placing the filter fabric and cellular concrete blocks, the prepared subgrade shall be inspected by the Engineer as well as the owner's representative.  No fabric or blocks shall be placed thereon until that area has been approved by each of these parties.


B.
Placement of Geotextile Filter Fabric   



General.  All placement and preparation should be performed in accordance with ASTM D6884-03, Standard Practice for Installation of Articulating Concrete Block (ACB) Revetment Systems. 



Placement.  The filtration geotextile will be placed directly on the prepared area, in intimate contact with the subgrade, and free of folds or wrinkles.  The geotextile will not be walked on or disturbed when the result is a loss of intimate contact between the cellular concrete block and the geotextile or between the geotextile and the subgrade.  The geotextile filter fabric will be placed so that the upstream strip of fabric overlaps the downstream strip.  The longitudinal and transverse joints will be overlapped at least two (2) feet.  The geotextile will extend at least one (1) foot beyond the top and bottom revetment termination points, or as required by the Engineer.  If cellular concrete blocks are assembled and placed as large mattresses, the top lap edge of the geotextile should not occur in the same location as a space between cellular concrete mats unless the space is concrete filled.


C.
Placement of Cellular Concrete Blocks
General.  ACB placement and preparation should be perform` with ASTM D6884-03, Standard Practice for Installation of Articulating Concrete Block (ACB) Revetment Systems. 




Cellular concrete block/mats, as specified in Part 2:A of these Specifications, will be constructed within the specified lines and grades shown on the Contract Drawings.



Placement.  The cellular concrete blocks will be prepared subgrade in such a manner as to produce a smooth plane surface in intimate contact.  No individual block within the plane of placed cellular concrete blocks will protrude more than one-half inch or as otherwise specified by the Engineer.  Cellular concrete blocks should be flush and develop intimate contact with the subgrade section, as approved by the Engineer.


Anchor trenches and side trenches shall be backfilled and compacted flush with the top of the blocks.  The integrity of a soil trench backfill must be maintained so as to ensure a surface that is flush with the top surface of the cellular concrete blocks for its entire service life.  Toe trenches shall be backfilled as shown on the Contract Drawings.  Backfilling and compaction of trenches shall be completed in a timely fashion.  No more than 500 linear feet of placed cellular concrete blocks with non-completed anchor and/or toe trenches shall be permitted at any time.



Finishing The cells or openings in the cellular concrete blocks will be backfilled and compacted with suitable material, as specified by the Engineer. Backfilling and compaction will be completed in a timely manner so that no more than 500 feet of exposed mats exist at any time.

Finishing requirements is explicitly at the discretion of the Engineer of Record.



Consultation.  The manufacturer of the cellular concrete blocks/mats will provide design and construction advice during the design and initial installation phases of the project as necessary, by the discretion of the Engineer.

PAGE  
8

